## Sheet1
battery.capacity: 7 | battery.capacity: 7 | battery.capacity: 7 | battery.capacity: 7 | battery.capacity: 7 | battery.capacity: 7
battery.voltage: 13.5 | battery.voltage: 12.5 | battery.voltage: 12.5 | battery.voltage: 12.5 | battery.voltage: 12.5 | battery.voltage: 13.1
battery.voltage.nominal: 12 | battery.voltage.nominal: 12 | battery.voltage.nominal: 12 | battery.voltage.nominal: 12 | battery.voltage.nominal: 12 | battery.voltage.nominal: 12
device.mfr: RPS S.p.a. | device.mfr: RPS S.p.a. | device.mfr: RPS S.p.a. | device.mfr: RPS S.p.a. | device.mfr: RPS S.p.a. | device.mfr: RPS S.p.a.
device.model: UNV1 | device.model: UNV1 | device.model: UNV1 | device.model: UNV1 | device.model: UNV1 | device.model: UNV1
device.serial: | device.serial: | device.serial: | device.serial: | device.serial: | device.serial:
device.type: ups | device.type: ups | device.type: ups | device.type: ups | device.type: ups | device.type: ups
driver.name: riello_usb | driver.name: riello_usb | driver.name: riello_usb | driver.name: riello_usb | driver.name: riello_usb | driver.name: riello_usb
driver.parameter.pollinterval: 2 | driver.parameter.pollinterval: 2 | driver.parameter.pollinterval: 2 | driver.parameter.pollinterval: 2 | driver.parameter.pollinterval: 2 | driver.parameter.pollinterval: 2
driver.parameter.port: auto | driver.parameter.port: auto | driver.parameter.port: auto | driver.parameter.port: auto | driver.parameter.port: auto | driver.parameter.port: auto
driver.parameter.synchronous: no | driver.parameter.synchronous: no | driver.parameter.synchronous: no | driver.parameter.synchronous: no | driver.parameter.synchronous: no | driver.parameter.synchronous: no
driver.version: 2.7.4-716-g0c48e7b2 | driver.version: 2.7.4-716-g0c48e7b2 | driver.version: 2.7.4-716-g0c48e7b2 | driver.version: 2.7.4-716-g0c48e7b2 | driver.version: 2.7.4-716-g0c48e7b2 | driver.version: 2.7.4-716-g0c48e7b2
driver.version.internal: 0.04 | driver.version.internal: 0.04 | driver.version.internal: 0.04 | driver.version.internal: 0.04 | driver.version.internal: 0.04 | driver.version.internal: 0.04
input.bypass.frequency: 409.50 | input.bypass.frequency: 409.50 | input.bypass.frequency: 409.50 | input.bypass.frequency: 409.50 | input.bypass.frequency: 409.50 | input.bypass.frequency: 409.50
input.bypass.voltage: 4095 | input.bypass.voltage: 4095 | input.bypass.voltage: 4095 | input.bypass.voltage: 4095 | input.bypass.voltage: 4095 | input.bypass.voltage: 4095
input.frequency: 50.10 | input.frequency: 0.00 | input.frequency: 0.00 | input.frequency: 0.00 | input.frequency: 0.00 | input.frequency: 50.00
input.voltage: 241 | input.voltage: 6 | input.voltage: 6 | input.voltage: 6 | input.voltage: 6 | input.voltage: 241
output.frequency: 50.10 | output.frequency: 50.00 | output.frequency: 50.00 | output.frequency: 50.00 | output.frequency: 50.00 | output.frequency: 50.00
output.frequency.nominal: 50.0 | output.frequency.nominal: 50.0 | output.frequency.nominal: 50.0 | output.frequency.nominal: 50.0 | output.frequency.nominal: 50.0 | output.frequency.nominal: 50.0
output.L1.current: 0 | output.L1.current: 0 | output.L1.current: 0 | output.L1.current: 0 | output.L1.current: 0 | output.L1.current: 0
output.L1.power: 0 | output.L1.power: 0 | output.L1.power: 0 | output.L1.power: 0 | output.L1.power: 0 | output.L1.power: 0
output.L1.realpower: 0 | output.L1.realpower: 0 | output.L1.realpower: 0 | output.L1.realpower: 0 | output.L1.realpower: 0 | output.L1.realpower: 0
output.L2.current: 0 | output.L2.current: 0 | output.L2.current: 0 | output.L2.current: 0 | output.L2.current: 0 | output.L2.current: 0
output.L2.power: 0 | output.L2.power: 0 | output.L2.power: 0 | output.L2.power: 0 | output.L2.power: 0 | output.L2.power: 0
output.L2.realpower: 0 | output.L2.realpower: 0 | output.L2.realpower: 0 | output.L2.realpower: 0 | output.L2.realpower: 0 | output.L2.realpower: 0
output.L3.current: 0 | output.L3.current: 0 | output.L3.current: 0 | output.L3.current: 0 | output.L3.current: 0 | output.L3.current: 0
output.L3.power: 0 | output.L3.power: 0 | output.L3.power: 0 | output.L3.power: 0 | output.L3.power: 0 | output.L3.power: 0
output.L3.realpower: 0 | output.L3.realpower: 0 | output.L3.realpower: 0 | output.L3.realpower: 0 | output.L3.realpower: 0 | output.L3.realpower: 0
output.power.percent: 0 | output.power.percent: 0 | output.power.percent: 10 | output.power.percent: 0 | output.power.percent: 0 | output.power.percent: 0
output.voltage: 237 | output.voltage: 230 | output.voltage: 231 | output.voltage: 231 | output.voltage: 230 | output.voltage: 237
output.voltage.nominal: 230 | output.voltage.nominal: 230 | output.voltage.nominal: 230 | output.voltage.nominal: 230 | output.voltage.nominal: 230 | output.voltage.nominal: 230
ups.firmware: SWM038-01-02 | ups.firmware: SWM038-01-02 | ups.firmware: SWM038-01-02 | ups.firmware: SWM038-01-02 | ups.firmware: SWM038-01-02 | ups.firmware: SWM038-01-02
ups.load: 0 | ups.load: 0 | ups.load: 10 | ups.load: 0 | ups.load: 0 | ups.load: 0
ups.mfr: RPS S.p.a. | ups.mfr: RPS S.p.a. | ups.mfr: RPS S.p.a. | ups.mfr: RPS S.p.a. | ups.mfr: RPS S.p.a. | ups.mfr: RPS S.p.a.
ups.model: UNV1 | ups.model: UNV1 | ups.model: UNV1 | ups.model: UNV1 | ups.model: UNV1 | ups.model: UNV1
ups.power.nominal: 800 | ups.power.nominal: 800 | ups.power.nominal: 800 | ups.power.nominal: 800 | ups.power.nominal: 800 | ups.power.nominal: 800
ups.productid: 5500 | ups.productid: 5500 | ups.productid: 5500 | ups.productid: 5500 | ups.productid: 5500 | ups.productid: 5500
ups.realpower.nominal: 480 | ups.realpower.nominal: 480 | ups.realpower.nominal: 480 | ups.realpower.nominal: 480 | ups.realpower.nominal: 480 | ups.realpower.nominal: 480
ups.serial: | ups.serial: | ups.serial: | ups.serial: | ups.serial: | ups.serial:
ups.status: OL | ups.status: OB | ups.status: OB | ups.status: OB | ups.status: OB | ups.status: OL CHRG
ups.vendorid: 04b4 | ups.vendorid: 04b4 | ups.vendorid: 04b4 | ups.vendorid: 04b4 | ups.vendorid: 04b4 | ups.vendorid: 04b4